## Page 1
| Commercial / Industrial Fuels | [7 empty] | 01-Jan-16
Comparison of Energy Costs
Notes:
1. All prices are inclusive of 13.5% VAT |  |  |  | Unit of | Average | Gross | Delivered | Percentage | Percentage
2. Ex-works price. Add delivery costs as appropriate. | Fuel |  | Form | Supply | Price per | Calorific | Energy Cost | change since | change since
Actual prices also depend on quality purchased. Carbon tax included. |  |  |  |  | Unit (€) 1 | Value (kWh/unit) | cent/kWh | 1 October, 2015 | 1 January, 2015
3. Prices used are an average of wholesale scheduled prices,
exclusive of any rebates that may apply. Rebate may reduce | Coal 2 |  | Industrial Fines | Tonne | 123.34 | 7759.2 | 1.59 | - | -
fuel cost in the region of 20-25% depending on various
market conditions. Please contact your petroleum supplier
for current prices. | Oil 3 |  | Gas Oil | Litre | 0.714 | 10.55 | 6.77 | -11.6% | -13.7%
4. Prices available on request from suppliers for L.P.G. |  |  | Light Fuel Oil | Litre | 0.65 | 11.21 | 5.8 | -13.2% | -15.1%
quantities over three tonnes. |  |  | Medium Fuel Oil | Litre | 0.607 | 11.32 | 5.36 | -10.5% | -15.1%
5. Gas prices are VAT Incl prices from the EU Price Directive Survey, |  |  | Heavy Fuel Oil | Litre | 0.565 | 11.45 | 4.94 | -10% | -15.5%
& represent prices for 01/01/2015 to 30/06/2015 (Prices updated every 6 mths)
For methodology and more details please see the following report :
http://www.seai.ie/Publications/Statistics_Publications/ |  |  | Commercial Cylinders | kg | 1.848 | 13.96 | 13.24 | -1.5% | -9.8%
EPSSU_Publications/Electricity_and_Gas_Prices/ | L.P.G. |  | Bulk L.P.G. (0-3 tonnes) 4 | Litre | 0.575 | 7.09 | 8.1 | -3.3% | -19.7%
Electricity_Gas_Prices_in_Ireland.pdf |  |  | Bulk L.P.G. (3.1-40 tonnes) | Litre | 0.478 | 7.09 | 6.74 | -0.6% | -21.5%
6. Electricity prices are VAT Incl prices from the EU Price Directive Survey,
& represent prices for 01/01/2015 to 30/06/2015 (Prices updated every 6 mths)
For methodology and more details please see the following report : | Natural Gas 5 |  | Band I1: <278 MWh per annum | kWh | 0.0592 | 1 | 5.92 | - | -9.2%
http://www.seai.ie/Publications/Statistics_Publications/ |  |  | Band I2: >=278 <2,778 MWh per annum | kWh | 0.0441 | 1 | 4.41 | - | -15%
EPSSU_Publications/Electricity_and_Gas_Prices/ |  |  | Band I3: >=2,778 <27,778 MWh per annum | kWh | 0.0433 | 1 | 4.33 | - | -5.7%
Electricity_Gas_Prices_in_Ireland.pdf |  |  | Band I4: >=27,778 <277,778 MWh per annum | kWh | 0.0331 | 1 | 3.31 | - | +4.0%
See Special Note below on the Public Service Obligation (PSO) levy.
7. To avail of lower night rate electricity a second meter is required.
The rate quoted is estimated for unit consumption costs only. | Electricity 6 |  | Band IA: <20MWh per annum | kWh | 0.2381 | 1 | 23.81 | - | +6.4%
Actual costs may be higher due to higher standing charges for |  |  | Band IB: >=20 < 500 MWh per annum | kWh | 0.186 | 1 | 18.6 | - | +2.6%
night rate electricity. |  |  | Band IC: >=500 < 2000 MWh per annum | kWh | 0.1601 | 1 | 16.01 | - | +4.5%
8. Wood fuel prices may vary from the average, given the |  |  | Band ID: >=2000 < 20,000 MWh per annum | kWh | 0.1293 | 1 | 12.93 | - | +2.9%
fragmented supplier network at present. |  |  | Band IE: >=20,000 < 70,000 MWh per annum | kWh | 0.109 | 1 | 10.9 | - | +4.0%
9. Minimum delivery conditions may apply. Discounts may |  |  | Band IF: >=70,000 < 150,000 MWh per annum | kWh | 0.1005 | 1 | 10.05 | - | +0.1%
apply for larger quantities.
|  |  | Night rate 7 | kWh | 0.0788 | 1 | 7.88
| Wood | 8 | Fuel Chips (35% moisture) | kg wet | 0.127 | 3.2 | 3.97 | - | -1.1%
DISCLAIMER: |  |  | Pellets bulk delivery 9 | kg | 0.273 | 4.8 | 5.69 | - | -1.6%
While every effort has been made to ensure the accuracy of |  |  | Pellets bagged | kg | 0.322 | 4.8 | 6.71 | -1% | +2.6%
these statistical publications and/or reports, they are subject to
revisions and changes from time to time. The Sustainable Energy
Authority of Ireland is not liable for losses suffered, whether direct or | Special Notes:
consequential, arising out of any reliance on these data. It is | Note: New source for Electricity and Gas Prices from October 2010 : |  |  | Due to full deregulation of the market, prices are now sourced from the prices gathered for the EU Gas &
the responsibility of each individual or entity to independently verify | Electricity Price Transparency Directive. Prices are updated 6 monthly. See notes 5 & 6 and www.seai.ie/Publications/Statistics_Publications/EPSSU_Publications/ for the latest report.
such information if the intention is to use such information in any
form for personal or commercial purposes. The Sustainable Energy | Electricity - from 1/10/2015 the Public Service Obligation (PSO) levy was decreased as follows: From €18.47 to €17.88 per customer per month for small commercial customers (max
Authority of Ireland reserves the right to change the methodology in | import capacity < 30kVA) and from €2.85 to €2.76 per kVa for medium and large customers (max import capacity >= 30kVA). See www.cer.ie for more details
collecting, presenting and publishing these statistics and/or report.
Carbon Tax was introduced for Oil, L.P.G and Natural Gas on 1st May 2010. The Carbon Tax was extended to Coal and Peat on 1 May 2013. See www.revenue.ie for more details.
Page 1 of 2

## Page 2
|  | Commercial / Industrial Fuels | [12 empty] | 01-Jan-16
Comparison of Useful Energy Costs for Space Heating
Delivered
|  | 10 |  | 11 |  |  | 12Seasonal Efficiency Ratings
Notes: |  | Fuel | Form | Cost | [9 empty] | Typical Seasonal Efficiencies | 15
10. Use manufacturers recommended fuel for each appliance. |  |  |  | (c/kWh) | 100% | 90% | 80% | 70% | 60% | 50% | 40% | 30% | 20%
11. Delivered energy costs quoted are for the
conditions stated overleaf. |  | Coal | Industrial Fines | 1.59 |  |  | 1.99 | 2.27 | 2.65 | 3.18 | 3.97 | 5.3 | 7.95 | Solid Fuel Boiler
12. Efficiencies quoted are bands of typical seasonal heating efficiencies | [13 empty] | 65% - 75%
13. If a night rate electricity meter is installed and if the heat
pumps are run during the night, a unit cost of approximately |  | Oil | Gas Oil | 6.77 |  | 7.52 | 8.46 | 9.67 | 11.28 | 13.54 |  |  |  | Gas or Oil Fired Boiler or Air Heater
half that specified can be assumed in the calculations for heat |  |  | Light Fuel Oil | 5.8 |  | 6.44 | 7.25 | 8.28 | 9.66 | 11.6 |  |  |  | 65% - 75%
pump running costs. |  |  | Medium Fuel Oil | 5.36 |  | 5.96 | 6.7 | 7.66 | 8.94 | 10.72
14. Seasonal Performance Factor is defined as the ratio of heat |  |  | Heavy Fuel Oil | 4.94 |  | 5.49 | 6.17 | 7.05 | 8.23 | 9.87 |  |  |  | Condensing Boiler
output from the heat pump and the electricity supplied to the | [13 empty] | 85-97%
heat pump over the heating season. SPFs quoted assume heat
pumps | are used in conjunction with low temperature systems such as |  | Commercial Cylinders | 13.24 |  | 14.71 | 16.54 | 18.91 | 22.06 | 26.47 |  |  |  | Electric Storage Heater
underfloor heating. |  | L.P.G. | Bulk L.P.G. (0-3 tonnes) | 8.1 |  | 9.01 | 10.13 | 11.58 | 13.51 | 16.21 |  |  |  | 90%
15. The Home | Heating Appliance Register of Performance |  | Bulk L.P.G. (3.1-40 tonnes) | 6.74 |  | 7.49 | 8.42 | 9.62 | 11.23 | 13.47
(HARP) database contains exact performance specifications | [13 empty] | Direct Gas Fired Heater
of the proposed/installed appliances. www.seai.ie/harp | [13 empty] | 90%
While HARP is not used in non-domestic Building Energy Rating (BER) it still |  | Natural Gas | Band I1: <278 MWh per annum | 5.92 |  | 6.57 | 7.4 | 8.45 | 9.86 | 11.83
gives a useful indicator of appliance efficiency/SPF for the purpose of |  |  | Band I2: >=278 <2,778 MWh per annum | 4.41 |  | 4.9 | 5.52 | 6.31 | 7.36 | 8.83 |  |  |  | Direct Electric Heater
commercial fuel cost comparisons. |  |  | Band I3: >=2,778 <27,778 MWh per annum | 4.33 |  | 4.82 | 5.42 | 6.19 | 7.22 | 8.67 |  |  |  | 100%
|  |  | Band I4: >=27,778 <277,778 MWh per annum | 3.31 |  | 3.67 | 4.13 | 4.72 | 5.51 | 6.61
|  | Electricity | Band IA: <20MWh per annum | 23.81 | 23.81 | 26.46
|  |  | Band IB: >=20 < 500 MWh per annum | 18.6 | 18.6 | 20.67
|  |  | Band IC: >=500 < 2000 MWh per annum | 16.01 | 16.01 | 17.79
|  |  | Band ID: >=2000 < 20,000 MWh per annum | 12.93 | 12.93 | 14.37
|  |  | Band IE: >=20,000 < 70,000 MWh per annum | 10.9 | 10.9 | 12.11
|  |  | Band IF: >=70,000 < 150,000 MWh per annum | 10.05 | 10.05 | 11.17
|  |  | Night rate | 7.88 | 7.88 | 8.76
|  | Wood | Fuel Chips | 3.97 |  | 4.41 | 4.97 | 5.67 | 6.62 | 7.94 | 9.93
|  |  | Pellets bulk delivery | 5.69 |  | 6.32 | 7.11 | 8.13 | 9.48 | 11.38 | 14.22
|  |  | Pellets bagged | 6.71 |  | 7.46 | 8.39 | 9.59 | 11.19 | 13.43 | 16.78 | 22.38 | 33.57
Delivered
|  |  |  | Energy |  | Seasonal Performance Factor (SPF) 14 for heat pumps | [7 empty] | Typical SPFs for Heat Pump Types 15
|  |  | Electricity used for Heat pumps 13 | Cost 11
|  |  |  | (c/kWh) |  | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6
[14 empty] | Ground source (horizontal) | 2.7 - 4.5
|  | Electricity | Band IA: <20MWh per annum | 23.81 |  | 9.53 | 7.94 | 6.8 | 5.95 | 5.29 | 4.76 | 4.33 | 3.97 | Ground source (vertical) | 2.7 - 4.5
|  |  | Band IB: >=20 < 500 MWh per annum | 18.6 |  | 7.44 | 6.2 | 5.31 | 4.65 | 4.13 | 3.72 | 3.38 | 3.1 | Air/Air | 2.5 - 4.2
|  |  | Band IC: >=500 < 2000 MWh per annum | 16.01 |  | 6.4 | 5.34 | 4.57 | 4 | 3.56 | 3.2 | 2.91 | 2.67 | Air/Water | 2.5 - 4.0
|  |  | Band ID: >=2000 < 20,000 MWh per annum | 12.93 |  | 5.17 | 4.31 | 3.7 | 3.23 | 2.87 | 2.59 | 2.35 | 2.16 | Water/Water | 3.0 - 5.6
|  |  | Band IE: >=20,000 < 70,000 MWh per annum | 10.9 |  | 4.36 | 3.63 | 3.11 | 2.73 | 2.42 | 2.18 | 1.98 | 1.82 | Exhaust Air | 2.5 - 4.2
|  |  | Band IF: >=70,000 < 150,000 MWh per annum | 10.05
|  |  | Night rate | 7.88 |  | 3.15 | 2.63 | 2.25 | 1.97 | 1.75 | 1.58 | 1.43 | 1.31
Page 2 of 2